## Overflow Summary 2021-2025
[14 empty] | No. of Days Data |  |  | Total Number of Overflow Events |  |  |  |  | Total Duration of Overflow Events ([h]:mm:ss) |  |  |  |  | Total Volume of Overflow Events (m3)
Permit Number | Asset ID | Asset Name | SEPA Measurement Point Description | SW Unique Measurement Point Description | Scottish Water Area | Network or WWTW | Type of Overflow CSO/SSSO/EO | Bathing Season Only Reporting? | Asset Postcode | Local Authority Area | X Co-ordinate | Y Co-ordinate | Discharge Receiving Water | 2025 | 2024 | 2023 | 2025 | 2024 | 2023 | 2022 | 2021 | 2025 | 2024 | 2023 | 2022 | 2021 | 2025 | 2024 | 2023 | 2022 | 2021 | Comments
CAR/L/1026106 | CSO005882 | 67 SOUTH COMMONHEAD CSO 2009 NS766664 | CSO event | Airdrie, 67 South Commonhead CSO Event | South | Network | CSO |  | ML6 6QR | North Lanarkshire | 276564 | 666431 | North Burn (culverted) | 206 | 0 | 0 | No Events | No Data | No Data | No Events | No Events | No Events | No Data | No Data | No Events | No Events | Not Required | Not Required | Not Required | Not Required | Not Required
CAR/L/1003861 | CSO006851 | ELLON WWTW CSO AND EO | CSO event | Ellon WWTW CSO Event | East | WWTW | CSO |  | AB41 9EY | Aberdeenshire | 396640 | 830488 | River Ythan | 365 | 366 | 339 | 2 | 5 | 5 | 9 | 2 | 0.071887 | 2.765 | 2.9479 | 1.2085 | 1.1152 | Not Required | Not Required | Not Required | Not Required | Not Required
CAR/L/1008817 | CSO007524 | ERSKINE WWTW - STORM TANK SSSO | Erskine WWTW SSSO (3DWF) storm event | Erskine WWTW SSSO Event | West | WWTW | SSSO |  | PA4 9PB | Renfrewshire | 249358 | 669099 | Clyde Estuary | 365 | 366 | 365 | 312 | 258 | 160 | 116 | 94 | 95.5093 | 133.8909 | 112.8206 | 109.5208 | 81.0208 | No Data | No Data | No Data | No Data | No Data
CAR/L/1003465 | CSO007529 | HELENSBURGH WWTW - POST-PST SSSO | SSSO event | Helensburgh WWTW SSSO Event | West | WWTW | SSSO |  | G82 5HG | Argyll and Bute | 232054 | 679869 | Clyde Estuary | 365 | 366 | 365 | 1697 | 1722 | 1521 | 616 | 553 | 288.8302 | 327.8404 | 320.2522 | 89.9688 | 91.1042 | 2761762.01 | 490427.6008 | 944484.3022 | 1302710.6634 | 1274477.768
CAR/L/1001146 | CSO006855 | IRON MILL BAY WWTW INLET CSO NT061843 | Ironmill Bay WWTW CSO storm event | Ironmill Bay WWTW CSO Event | East | WWTW | CSO |  | KY11 3DP | Fife | 306064 | 684294 | Forth Estuary | 365 | 366 | 364 | 3 | 5 | 9 | 9 | 33 | 0.29338 | 1.3726 | 1.4767 | 1.2301 | 5.1996 | 3460.3157 | 13629.5831 | 5136.96 | 6853.68 | 24699.6

## Overflow Events in 2025
Year | 2025
Permit Number | Ellipse No. | Asset ID | Asset Name | SEPA Measurement Point Description | SW Measurement Point Description | Area | Network or WWTW | No. of Days Data | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Volume Discharged (m3) | Comments
CAR/L/1026106 | 5000594132 | CSO005882 | 67 SOUTH COMMONHEAD CSO 2009 NS766664 | CSO event | Airdrie, 67 South Commonhead CSO Event | South | Network | 206 | No Events | No Events | No Events | Not Required | Intermittent data gaps throughout the year.
CAR/L/1003861 | 5001010360 | CSO006851 | ELLON WWTW CSO AND EO | CSO event | Ellon WWTW CSO Event | East | WWTW | 365 | 2025-06-07 12:56 | 2025-06-07 13:17 | 0:21 | Not Required
CAR/L/1003861 | 5001010360 | CSO006851 | ELLON WWTW CSO AND EO | CSO event | Ellon WWTW CSO Event | East | WWTW | 365 | 2025-12-07 22:00 | 2025-12-07 23:23 | 1:23 | Not Required
CAR/L/1001146 | 5001012870 | CSO006855 | IRON MILL BAY WWTW INLET CSO NT061843 | Ironmill Bay WWTW CSO storm event | Ironmill Bay WWTW CSO Event | East | WWTW | 365 | 25/05/2025 02:06:15 | 25/05/2025 03:28:34 | 1:22 | 1628.3242
CAR/L/1001146 | 5001012870 | CSO006855 | IRON MILL BAY WWTW INLET CSO NT061843 | Ironmill Bay WWTW CSO storm event | Ironmill Bay WWTW CSO Event | East | WWTW | 365 | 26/05/2025 21:56:08 | 27/05/2025 02:09:41 | 4:14 | 1649.5407
CAR/L/1001146 | 5001012870 | CSO006855 | IRON MILL BAY WWTW INLET CSO NT061843 | Ironmill Bay WWTW CSO storm event | Ironmill Bay WWTW CSO Event | East | WWTW | 365 | 03/10/2025 15:52:38 | 03/10/2025 17:19:14 | 1:27 | 182.4508

## Overflow Events in 2024
Year | 2024
Licence Number | Ellipse No. | Asset ID | Asset Name | SEPA Measurement Point Description | SW Measurement Point Description | Area | Network or WWTW | No. of Days Data | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Volume Discharged (m3) | Comments
CAR/L/1026106 | 5000594132 | CSO005882 | 67 SOUTH COMMONHEAD CSO 2009 NS766664 | CSO event | Airdrie, 67 South Commonhead CSO Event | South | Network | 0 | No Data | No Data | No Data | Not Required | No data available for 2024. Monitoring improvement project ongoing.
CAR/L/1003861 | 5001010360 | CSO006851 | ELLON WWTW CSO NJ966305 | CSO event | Ellon WWTW CSO Event | East | WWTW | 366 | 2024-01-02 20:08 | 2024-01-02 21:06 | 0:58 | Not Required
CAR/L/1003861 | 5001010360 | CSO006851 | ELLON WWTW CSO NJ966305 | CSO event | Ellon WWTW CSO Event | East | WWTW | 366 | 2024-01-03 02:03 | 2024-01-04 18:51 | 40:48 | Not Required
CAR/L/1008817 | 5001065151 | CSO007524 | ERSKINE WWTW - STORM TANK SSSO | Erskine WWTW SSSO (3DWF) storm event | Erskine WWTW SSSO Event | West | WWTW | 366 | 2024-03-31 01:20 | 2024-03-31 01:38 | 0:18
CAR/L/1008817 | 5001065151 | CSO007524 | ERSKINE WWTW - STORM TANK SSSO | Erskine WWTW SSSO (3DWF) storm event | Erskine WWTW SSSO Event | West | WWTW | 366 | 2024-03-31 01:56 | 2024-03-31 02:13 | 0:17

## Overflow Events in 2023
Year | 2023
Licence Number | Ellipse No. | Asset ID | Asset Name | SEPA Measurement Point Description | SW Measurement Point Description | Area | Network or WWTW | No. of Days Data | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Volume Discharged (m3) | Comments
CAR/L/1026106 | 5000594132 | CSO005882 | 67 SOUTH COMMONHEAD CSO 2009 NS766664 | CSO event | Airdrie, 67 South Commonhead CSO event | South | Network | 0 | No Data | No Data | No Data | Not Required | No data available for 2023. Monitoring improvement project ongoing.
CAR/L/1003861 | 5000062284 | STW001545 | ELLON WWTW 1989 NJ966305 | CSO event | Ellon WWTW CSO event | East | WWTW | 339 | 2023-05-08 23:52 | 2023-05-09 00:24 | 0:32 | Not Required
CAR/L/1003861 | 5000062284 | STW001545 | ELLON WWTW 1989 NJ966305 | CSO event | Ellon WWTW CSO event | East | WWTW | 339 | 2023-12-07 21:14 | 2023-12-08 18:15 | 21:00 | Not Required
CAR/L/1003861 | 5000062284 | STW001545 | ELLON WWTW 1989 NJ966305 | CSO event | Ellon WWTW CSO event | East | WWTW | 339 | 2023-12-23 14:23 | 2023-12-23 17:36 | 3:13 | Not Required
CAR/L/1003861 | 5000062284 | STW001545 | ELLON WWTW 1989 NJ966305 | CSO event | Ellon WWTW CSO event | East | WWTW | 339 | 2023-12-27 11:39 | 2023-12-28 15:46 | 28:07 | Not Required
CAR/L/1003861 | 5000062284 | STW001545 | ELLON WWTW 1989 NJ966305 | CSO event | Ellon WWTW CSO event | East | WWTW | 339 | 2023-12-30 18:22 | 2023-12-31 12:15 | 17:52 | Not Required
CAR/L/1003465 | 5000004318 | STW000372 | HELENSBURGH WWTW 2001 NS321800 | SSSO event | Helensburgh WWTW SSSO event | West | WWTW | 365 | 2023-10-29 01:00 | 2023-10-30 12:46 | 35:46 | 427.697

## Overflow Events in 2022
Year | 2022
Licence Number | Ellipse No. | Asset ID | Asset Name | SEPA Measurement Point Description | SW Measurement Point Description | Area | Network or WWTW | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Volume Discharged (m3) | Comments
CAR/L/1026106 | 5000594132 | CSO005882 | 67 SOUTH COMMONHEAD CSO 2009 NS766664 | CSO event | Airdrie, 67 South Commonhead CSO event | South | Network | No Events | No Events | No Events | Not Required
CAR/L/1001897 | 5000062377 | STW001638 | FORT WILLIAM WWTW NN108750 | Fort William WWTW CSO storm event | Fort William WWTW CSO event | North | WWTW | 2022-01-01 | 2022-01-01 | No Data Available | 453 | Asset returned to Scottish Water during 2022. Duration of events is not available. Resubmission 12/11/25 – Due to current monitor limitations overflow start/end times are unable to be provided. Therefore, start/end times have been removed.
CAR/L/1001897 | 5000062377 | STW001638 | FORT WILLIAM WWTW NN108750 | Fort William WWTW CSO storm event | Fort William WWTW CSO event | North | WWTW | 2022-01-02 | 2022-01-02 | No Data Available | 7224

## Overflow Events in 2021
Year | 2021
Licence Number | Asset ID | Asset Name | SEPA Measurement Point Description | SW Unique Measurement Point Description | Area | Network or WWTW | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Volume Discharged (m3) | Comments
CAR/L/1026106 | CSO005882 | 67 SOUTH COMMONHEAD CSO 2009 NS766664 | CSO event | Airdrie, 67 South Commonhead CSO event | South | Network | No events | No events | No events | Not required
CAR/L/1003861 | STW001545 | ELLON WWTW 1989 NJ966305 | CSO event | Ellon WWTW CSO event | East | WWTW | 2021-03-09 11:48 | 2021-03-10 13:49 | 26:01 | Not required
CAR/L/1003861 | STW001545 | ELLON WWTW 1989 NJ966305 | CSO event | Ellon WWTW CSO event | East | WWTW | 2021-12-04 15:15 | 2021-12-04 16:00 | 0:45 | Not required