## Overflow Summary 2022-2025
[13 empty] | No. of Days Data |  |  |  | Total Number of Overflow Events |  |  |  | Total Duration of Overflow Events ([h]:mm:ss)
Permit Number | Asset ID | Asset Name | SW Unique Measurement Point Description | Scottish Water Area | Network or WWTW | Type of Overflow CSO/SSSO/EO | Postcode | Local Authority Area | X Co-ordinate | Y Co-ordinate | Discharge Receiving Water | All Events Published? | 2025 | 2024 | 2023 | 2022 | 2025 | 2024 | 2023 | 2022 | 2025 | 2024 | 2023 | 2022 | Comments
CAR/L/1004222 | CSO007267 | ABERCHIRDER WWTW SSSO | Aberchirder WWTW SSSO Event | East | WWTW | SSSO | AB54 7SS | Aberdeenshire | 362919 | 852078 | Arkland Burn |  | 0 | 0 | 0 | 0 | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data
CAR/L/1026105 | CSO004465 | ABERDEEN, 143 GEORGE ST NJ93069510 CSO | Aberdeen, 143 George St CSO Event | East | Network | CSO | AB25 1BQ | Aberdeen City | 393960 | 806586 | Un-named Tributary of Den Burn | Yes From 2025 | 365 | 0 | 0 | 0 | 4 | No Data | No Data | No Data | 0.055556 | No Data | No Data | No Data | 2025 Data Published August 2026.
CAR/L/1026153 | CSO001640 | STONEYBURN, BENTS FARM/CANNOP CRES CSO | Bathgate, Stoneyburn Bents Farm/Cannop Cres CSO Event | South | Network | CSO | EH55 8JF | West Lothian | 296862.227 | 662079.403 | Breich Water | No Events >15:30 Only | 365 | 291 | 356 | 306 | 2 | 1 | 0 | 0 | 0.28819 | 0.017361 | 0 | 0
CAR/L/1003532 | CSO007138 | LINCLUDEN WWTW SSSO | Lincluden WWTW SSSO Event | South | WWTW | SSSO | DG2 0DL | Dumfries and Galloway | 296306 | 578026 | Cluden Water | No Events >15:30 Only | 204 | 366 | 365 | 365 | 370 | 440 | 755 | 444 | 111.9412 | 130.4345 | 247.2915 | 216.042

## Overflow Events in 2025
Year | 2025
Permit Number | Ellipse No. | Asset ID | Asset Name | SW Unique Measurement Point Description | Area | Network or WWTW | No. of Days Data | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Comments
CAR/L/1004222 | 5001047762 | CSO007267 | ABERCHIRDER WWTW SSSO | Aberchirder WWTW SSSO Event | East | WWTW | 0 | No Data | No Data | No Data
CAR/L/1026105 | 5000244962 | CSO004465 | ABERDEEN, 143 GEORGE ST NJ93069510 CSO | Aberdeen, 143 George St CSO Event | East | Network | 365 | 2025-06-07 12:20 | 2025-06-07 12:35 | 0:15
CAR/L/1026105 | 5000244962 | CSO004465 | ABERDEEN, 143 GEORGE ST NJ93069510 CSO | Aberdeen, 143 George St CSO Event | East | Network | 365 | 2025-06-14 12:00 | 2025-06-14 12:35 | 0:35
CAR/L/1026105 | 5000244962 | CSO004465 | ABERDEEN, 143 GEORGE ST NJ93069510 CSO | Aberdeen, 143 George St CSO Event | East | Network | 365 | 2025-06-22 01:25 | 2025-06-22 01:40 | 0:15
CAR/L/1026105 | 5000244962 | CSO004465 | ABERDEEN, 143 GEORGE ST NJ93069510 CSO | Aberdeen, 143 George St CSO Event | East | Network | 365 | 2025-07-27 14:25 | 2025-07-27 14:40 | 0:15

## Overflow Events in 2024
Year | 2024
Licence Number | Ellipse No. | Asset ID | Asset Name | SW Unique Measurement Point Description | Area | Network or WWTW | No. of Days Data | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Comments
CAR/L/1004222 | 5001047762 | CSO007267 | ABERCHIRDER WWTW SSSO | Aberchirder WWTW SSSO Event | EAST | WWTW | 0 | No Data | No Data | No Data | Monitoring improvement project ongoing.
CAR/L/1026153 | 5000229444 | CSO001640 | STONEYBURN, BENTS FARM/CANNOP CRES CSO | Bathgate, Stoneyburn Bents Farm/Cannop Cres CSO Event | South | Network | 291 | 31/12/2024 09:40:00 | 31/12/2024 10:05:00 | 0:25 | New monitor installed. Data available from 16/03/24.

## Overflow Events in 2023
Year | 2023
Licence Number | Ellipse No. | Asset ID | Asset Name | SW Measurement Point Description | Area | Network or WWTW | No. of Days Data | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Comments

## Overflow Events in 2022
Year | 2022
Licence Number | Ellipse No. | Asset ID | Asset Name | SW Measurement Point Description | Area | Network or WWTW | No. of Days Data | Start of Overflow Event | End of Overflow Event | Duration of Overflow Event [h]:mm:ss | Comments
CAR/L/1003532 | 5000005230 | STW000468 | LINCLUDEN WWTW 1930 NX963780 | LINCLUDEN WWTW SSSO event | South | WWTW | 365 | 2022-10-30 01:53 | 2022-10-30 06:27 | 4:34 | Based on 365 days where data is available.